HOT WORK PERMIT

Page 1 of 1

This permit is required for any hot work.  This permit expires at the end of the work shift on the date of issuance.

Company:

Responsible Person:

Area where work will be performed:

Date:

a.m.   p.m.

Time:

Company:

Responsible Person:

Area where work will be performed:

Date:

a.m.   p.m.

Time:

| AREA PROTECTION - Remove flammable or combustible liquids 35 feet from hot work activity - Ensure proper housekeeping - Combustible materials such as corrugated boxes, pallets, etc., have been removed 35 feet from hot work activity or protected? - Electrical conduit, piping or machinery that could be damaged has been protected? - Equipment has been locked out, as necessary? - Sprinkler system, if available, is operable? - Smoke detectors have been isolated, disconnected or covered? | DONE | N/A |
| --- | --- | --- |
| PROVIDE ALL OF THE FOLLOWING BEFORE PERFORMING HOT WORK - A 10 lb. ABC dry chemical fire extinguisher - A FIRE WATCH trained in the safe use of a fire extinguisher and solely assigned to monitor for fire during hot work? - Personal protective equipment as needed? - Proper welding curtains or screens to protect against welding flash to workers or by-standers? | DONE | N/A |
| SPECIAL INSTRUCTIONS - Post this permit at the site of the hot work - Special Precautions (list, if none so state) | DONE | N/A |

The area and equipment listed on this permit has been inspected and found to be safe to start work.  I/we have read and completed the precautions listed above and agree to abide by this procedure.

(Supervisor) 	(Employee Performing Hot Work)